INSPECTION CHECKLIST – RADIOACTIVE SUBSTANCES AREA

| Area / Room No. | Date | Supervised / Controlled or Non-Designated Area |
| --- | --- | --- |

Inspection personnel

| Topic | Comments |
| --- | --- |
| General condition of work area Demarcation of work areas Spill trays Shielding Correct signage General housekeeping Adequate splash screens >500mm All gaps and cracks properly sealed Painted surfaces in good condition Floors and floor coverings in good condition Fridges and freezers – minimum accumulated ice Fume cupboard (condition and flow test date) / other ventilation suitability |  |
| Radionuclide stocks Stored securely/lockable stores No storage adjacent flammables or explosives Correct signage Use and Disposal records in order (MBq) Labelling of stock pots All expected stocks located No unexpected stocks found |  |
| Radiation monitors Appropriate In good working order Next calibration due |  |
| Contamination monitoring logs Up to date Contain necessary information Personal monitoring data |  |
| Waste No excessive accumulations Sink waste logs Solid waste logs Sinks – no absorbent materials below Sinks – waste pipe runs labelled with radioactive tape |  |
| Risk Assessment and Local Rules All work risk assessed and reviewed Local Rules displayed and reviewed |  |
| Training and authorisation All users registered using registration form IR016 Safety Office relevant core training attended by all workers Departmental practical training attended by all workers (location of induction records?) |  |

| Actions required: | By (date) | RPS sign on completion of Actions |
| --- | --- | --- |
| Next inspection due: |  |  |