DEPARTMENT OF ………………………….

X-RAY EQUIPMENT SAFETY CHECKLIST

INSTRUMENT:

LOCATION:

CARRIED OUT BY (print name):

SIGNATURE:

| LIGHTS | COLOUR | OK – CHECKED (√) |
| --- | --- | --- |
| GENERATOR ON |  |  |
| HT/X-RAYS ON |  |  |
| GENERATOR |  |  |
| REMOTE |  |  |
| SHUTTER WARNING |  |  |
| SHUTTER LAMP OPEN |  |  |
| CLOSED |  |  |
| INTERLOCK OPEN |  |  |
| CLOSED |  |  |
| SAFETY CIRCUIT |  |  |
| CORRECT |  |  |
| FAILURE |  |  |
| WATER SAFETY |  |  |

| INTERLOCKS | COMMENTS | OK – CHECKED (√) |
| --- | --- | --- |
| GENERATOR KEY SWITCH |  |  |
| DOOR INTERLOCKS |  |  |
| FRONT |  |  |
| BACK |  |  |
| SIDE |  |  |
| PANEL INTERLOCKS | (No.) |  |
| CAMERA/INSTRUMENT/SLIT SYSTEM INTERLOCKS | (No.) |  |
| OVERRIDE KEY FUNCTION CORRECT |  |  |
| POSITON OF OVERRIDE KEY(S) |  |  |
| WATER SAFETY |  |  |

ADDITIONAL NOTES: