Checklist 003



[image: image1.wmf]

  Health and Safety Office 

Laboratory Safety Inspection Checklist 
Note: In view of the specialised nature of laboratories inspections should be undertaken by, or in the presence of personnel familiar with the inherent dangers involved and the safety precautions necessary. 

	Area of inspection:



	Person responsible:



	Inspection carried out by:

	Date:


	
	Yes
	No
	N/A
	Comments 

	Information, signs and labels:

	
	
	
	

	1. Laboratory Safety Management Plan available 

	
	
	
	

	2. Departmental Safety Handbook available 

	
	
	
	

	3. Statutory safety signs and notices clearly displayed 

	
	
	
	

	4. Standard operating procedures for routine operations / risk assessments available and current 

	
	
	
	

	5. Is there evidence that the risk assessments etc are being complied with

	
	
	
	

	6. Chemical hazard signage where needed

	
	
	
	

	7. Radiation hazard trefoil / signage where needed 

	
	
	
	

	8. Biological hazard trefoil / signage where needed

	
	
	
	

	9. Training records kept 

	
	
	
	

	Housekeeping / general lab safety: 

	
	
	
	

	10. Walkways and floor area clear and uncluttered and free from trip hazards 

	
	
	
	

	11. Work areas tidy and free from obstructions (include kneeholes)

	
	
	
	

	12. Bench tops free of excess storage and materials not in use 

	
	
	
	


	
	Yes
	No
	N/A
	Comments 

	13. Bench tops and coverings free of visible contamination 

	
	
	
	

	14.Balance areas clean and free from visible contamination 

	
	
	
	

	15. Sinks clear of clutter, glassware 

	
	
	
	

	16. Heat guns switched off at mains when not in use 

	
	
	
	

	17.Shelves accessible, properly secured and loaded 

	
	
	
	

	18. Storage above eye level minimised

	
	
	
	

	19. All portable electrical equipment tested (include radios) 

	
	
	
	

	20. Trailing cables / leads, overloaded multi-gang adaptors 

	
	
	
	

	21. All electrical equipment placed so as to avoid risk of damage 

	
	
	
	

	22. Vacuum lines covered with mesh

	
	
	
	

	23.  Rotary evaporators have plastic coating or covered with mesh 

	
	
	
	

	24. Pressure systems documented and checked

	
	
	
	

	25. All fridges / freezers have had ignition sources removed and are labelled to this effect 

	
	
	
	

	26. Fridge boxes used and contents labelled 

	
	
	
	

	27. Fridges and freezers need defrosting 

	
	
	
	

	28. Waste properly segregated (glass, sharps, chemical etc) 

	
	
	
	

	29.Hand washing facilities available and free from contamination 

	
	
	
	

	30. Evidence of eating and drinking in lab

	
	
	
	

	31. No storage of food and drink in lab and lab fridges / freezers unless clearly labelled ‘Not for human consumption’

	
	
	
	


	
	Yes
	No
	N/A
	Comments 

	Personal Protective equipment: 

	
	
	
	

	32. Chemical resistant gloves available and worn

	
	
	
	

	33. Eye protection available and worn 

	
	
	
	

	34. Protective clothing available and worn 

	
	
	
	

	35. Appropriate respiratory protection available 

	
	
	
	

	36. Respirators cleaned, stored, inspected regularly 

	
	
	
	

	Chemicals / chemical storage: 


	
	
	
	

	37. Chemicals used or stored in area

	
	
	
	

	38. Up-to-date inventory maintained for all chemicals / hazardous materials 

	
	
	
	

	39. Storage areas neat and clean 

	
	
	
	

	40. Containers clearly labelled with chemical names (in English), CAS Numbers, percent composition (for mixtures), and hazard warnings 

	
	
	
	

	41. Containers labelled with receipt date and group name

	
	
	
	

	42. Chemicals are segregated and stored according to chemical compatibilities [flammables away from oxidizers, acids separate from bases, incompatible acids separated (eg. nitric and sulphuric acid not with acetic acid,) etc]

	
	
	
	

	43. All chemical storage cabinets bunded / spill trays used 

	
	
	
	

	44. Corrosives stored in acid cabinets 

	
	
	
	

	45. Flammable liquids stored in approved fire-resistant cabinets 

	
	
	
	

	46. Quantity of flammable liquid stored in lab not in excess of 50 litres 

	
	
	
	

	47. Minimum quantity of flammable liquid stored on open bench 

	
	
	
	

	48. Ignition sources avoided when using / storing flammables 

	
	
	
	


	
	Yes
	No
	N/A
	Comments 

	49. Storage of chemicals above eye level avoided 

	
	
	
	

	50. Chemicals stored away from light and heat sources 

	
	
	
	

	51. Chemical containers are in good condition, labels intact, metal cans free of rust 

	
	
	
	

	52. Containers closed unless actively adding/removing contents 

	
	
	
	

	53. Water and air reactive compounds are sealed against exposure to water 

	
	
	
	

	54. Large containers stored near the floor 

	
	
	
	

	55. Winchesters and glass bottles on floor 

	
	
	
	

	56. Winchester bottle carriers utilized when transporting hazardous chemicals between work areas 

	
	
	
	

	57. All personnel know the location of chemical inventory, MSDS, and related reference material 

	
	
	
	

	58. All personnel familiar with physical and health hazards of chemicals in work area

	
	
	
	

	59. All personnel know how to protect themselves and others from effects of hazardous materials 

	
	
	
	

	60. Chemical waste properly segregated and labelled (chlorinated, non-chlorinated etc) 

	
	
	
	

	61. Chemical waste allowed to accumulate 

	
	
	
	

	Fume Cupboards / LEV:

	
	
	
	

	62. Fume cupboards free of clutter 

	
	
	
	

	63. Large pieces of equipment raised to allow airflow 

	
	
	
	

	64. Procedures conducted at least 150mm inside cupboard 

	
	
	
	

	65. Sash lowered to optimum setting and closed when left unattended

	
	
	
	


	
	Yes
	No
	N/A
	Comments 

	66. Local exhaust ventilation / fume extraction systems operating correctly 

	
	
	
	

	67. Extraction systems inspected in last 14 months 

	
	
	
	

	Compressed gases: 

	
	
	
	

	68. Cylinders stored upright and properly secured at all times

	
	
	
	

	69. Cylinders capped when not in use 

	
	
	
	

	70. Correct regulations used for type of gas, pressure bled when not in use 

	
	
	
	

	71. Regulators checked and display valid test sticker

	
	
	
	

	72. Cylinders in good condition and clearly marked 

	
	
	
	

	73. Empty cylinders promptly removed from lab

	
	
	
	

	74. Flammable gases separated from oxidising gases by distance, wall or partition 

	
	
	
	

	Biological safety:

	
	
	
	

	75. GM risk assessments available and fulfil requirements of containment level 

	
	
	
	

	76. Inventory of biological agents maintained 

	
	
	
	

	77. Validated deactivation procedures in place 

	
	
	
	

	78. Provision of disinfectant 

	
	
	
	

	Radiation safety: 

	
	
	
	

	79.  Designated areas / sinks 

	
	
	
	

	80.  Local rules in place 

	
	
	
	

	81. Inventory of radioisotopes maintained 

	
	
	
	

	82. Proper shielding in place and being used correctly 

	
	
	
	

	83. Records kept 

	
	
	
	


	
	Yes
	No
	N/A
	Comments 

	84. Fridges / freezers locked 

	
	
	
	

	85. Regular monitoring (recorded)

	
	
	
	

	Emergency: 


	
	
	
	

	86. Emergency fire and first aid numbers and procedures on display and understood by staff

	
	
	
	

	87. Fire doors maintained and kept clear 

	
	
	
	

	88. Fire extinguishers /  fire blankets in designated place, clearly visible and unobstructed

	
	
	
	

	89. Appropriate fire extinguishers for hazard classification 

	
	
	
	

	90. Have fire extinguishers been maintained in last 12 months

	
	
	
	

	91. First-aid kit available, adequately stocked and items in date 

	
	
	
	

	92. Safety shower / eyewash clearly visible  and unobstructed 

	
	
	
	

	93. Safety shower / eyewash regularly tested

	
	
	
	

	94. Eyewash bottles sealed and in date 

	
	
	
	

	95. Spill control materials readily available and personnel familiar with how to use them 

	
	
	
	

	(use this space to add any additional observations not already covered above – continue on a separate sheet)




	Recommendations / action to be taken:



	Signed (Supervisor/Safety Representative):

	Date: 


Any faults noted above should be corrected as soon as possible and within four weeks of this inspection.  The Departmental Safety Officer must be notified of any corrective action taken.  A follow-up visit will be undertaken to ensure all points noted above have been addressed.  

1
PAGE  
2

_1011079366.doc


�












