USE OF COMPRESSED GAS CYLINDERS AUDIT/INSPECTION

Date of the visit:

Department:

Audit carried out by:

Department contact responsible for compressed gas (name-function):

This audit is with respect to use and storage of compressed gas cylinders with exemption of lecture bottles, small disposable gas canisters or aerosols.

- GENERAL

|  | Operational Requirements | Comments |
| --- | --- | --- |
|  | Who manages gas cylinder safety in the department/institution? |  |
|  | How many gas cylinders does the department have (evidence)? |  |
|  | How many gas cylinders are rented from a UK supplier? |  |
|  | Does the department/institution have an emergency plan in the event of a gas cylinders related incident i.e. fire, leak…? |  |
|  | Does this plan include a safe procedure to evacuate all or part of your building/site if necessary? |  |

|  | Operational Requirements | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Do you know where they are? |  |  |  |  |
|  | Do you have acetylene cylinders? |  |  |  |  |
|  | Have you got medical gas cylinders? |  |  |  |  |
|  | If yes, are they in a specific storage? |  |  |  |  |

- RISK ASSESSMENT

|  | Operational Requirements | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Are there risk assessments for all gases in use? |  |  |  |  |
|  | Have all gas cylinders got a current Safety Data Sheet? |  |  |  |  |
|  | Does the risk assessment take in consideration the UK Workplace Exposure Limits? |  |  |  |  |
|  | Do the risk assessments address the COSHH and DSEAR Regulations? |  |  |  |  |
|  | Have sources of ignition been taken in consideration during the risk assessment process? |  |  |  |  |
|  | Does the risk assessment include emergency procedures such as consideration of the consequences from the failure of control measures? |  |  |  |  |

- SAFETY PRECAUTIONS

|  | Operational Requirements | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Are all gas cylinders appropriately secured? e.g. wall bracket or stand |  |  |  |  |
|  | Have all gas cylinders got label/mark which indicates its contents? |  |  |  |  |
|  | Are gas cylinders protected against prolonged direct sunlight or heat sources? |  |  |  |  |
|  | Is there extract ventilation in the areas where flammable gases are in use? |  |  |  |  |
|  | Have flammable gas cylinders got flashback or flame arrestors? (BS EN 730, 1995) |  |  |  |  |
|  | Have ALL acetylene cylinders got flashback or flame arrestors? (BS EN 730, 1995) |  |  |  |  |
|  | Are all gas lines made of a suitable material and fitted with approved joints/unions? |  |  |  |  |
|  | Have gas lines got non-return valves? |  |  |  |  |
|  | Have pressurised gas systems got pressure release devices, as relief valves, bursting discs, fused plugs, to prevent over-pressure? |  |  |  |  |
|  | Do rooms, where gas cylinders are used, have gas monitoring equipment? |  |  |  |  |
|  | Is gas monitoring equipment appropriate to the gases used? |  |  |  |  |
|  | Is the monitor/meter in an appropriate location according to use and properties (temperature, density…)? |  |  |  |  |
|  | Does the gas monitoring equipment comply with University Guidance? |  |  |  |  |
|  | Are all unions, nuts and connectors inspected before use, including leak testing? (using an appropriate commercial “leak test” solution) |  |  |  |  |
|  | If a key/spanner is required to switch off the valve, is it available adjacent to the gas cylinder at all times? |  |  |  |  |
|  | Are gas cylinders not in active use returned to the store? |  |  |  |  |

- USERS and PPE

|  | Operational Requirements | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Have all those who use gas cylinders had appropriate training and know safety requirements? |  |  |  |  |
|  | Do all people who use compressed gases wear PPE appropriate to the task being undertaken? |  |  |  |  |
|  | Is PPE in good condition checked regularly and stored appropriately? |  |  |  |  |

- TRANSPORT/HANDLING

|  | Operational Requirements | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Is there risk assessment for manual handling of gas cylinders? |  |  |  |  |
|  | Is there a written safe procedure for manual handling of gas cylinders? |  |  |  |  |
|  | Have all people, who handle gas cylinders, read the risk assessment? (evidence…) |  |  |  |  |
|  | Have all people, who handle gas cylinders, undertaken manual handling training? |  |  |  |  |
|  | Are there suitable cylinder trollies to transport cylinders? |  |  |  |  |
|  | Are regulators removed when moving or transporting gas cylinders? |  |  |  |  |
|  | Is there a valve protection cap/guard on the cylinder used during the transport and until the cylinder is secured? |  |  |  |  |
|  | Do you use a lift to transport gas cylinders? If so, |  |  |  |  |
| 9. | Do you have a written safe operating procedure to transport gas cylinders in a lift? |  |  |  |  |

- ROAD TRANSPORT

|  | Operational Requirements | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Do you transport gas cylinders by road? - If so - |  |  |  |  |
|  | Do you use appropriate vehicles to transport the gas cylinders? (ADR) |  |  |  |  |
|  | During transport, are they secured appropriately? |  |  |  |  |

- STORAGE

|  | Operational Requirements | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Are gas cylinders stored in a dedicated area? |  |  |  |  |
|  | Are gas cylinders stored in a vertical position? |  |  |  |  |
|  | Are all gas cylinders appropriately secured? e.g. wall bracket or stand |  |  |  |  |
|  | Are the incompatible cylinders stored separately at a recommended minimum separation distance? |  |  |  |  |
|  | Are all gas cylinders stored in a dry place? |  |  |  |  |
|  | Have storage areas been located away from emergency exits and escape routes? |  |  |  |  |
|  | Are all gas cylinders storage areas adequate ventilated? |  |  |  |  |
|  | Are storage areas appropriately lit? |  |  |  |  |
|  | Do storage areas have fire safety devices (extinguishers…)? (BS 5306, Part 3) |  |  |  |  |
|  | Are storage areas labelled with “NO SMOKING” sign? |  |  |  |  |
|  | Are storage areas restricted for access by authorised personnel only? |  |  |  |  |
|  | Are all storage areas cleaned regularly? |  |  |  |  |
|  | Are storage areas inspected regularly and by whom? |  |  |  |  |
|  | Is there an “empty” label/mark when the cylinder is empty? |  |  |  |  |
|  | Are all valves of empty cylinders closed? |  |  |  |  |
|  | Are full and empty gas cylinders stored separately and in a specific area? |  |  |  |  |

- MAINTENANCE

|  | Operational Requirements | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Are all gas lines inspected regularly? |  |  |  |  |
|  | Are flexible gas hoses checked and replaced periodically? |  |  |  |  |
|  | Have all gas cylinders with expired shelf life been returned to the supplier? |  |  |  |  |

- REGULATORS

|  | Operational Requirements | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Have all gas cylinders in use got regulators fitted? |  |  |  |  |
|  | Are all gas regulators suitable for the gas being handled? |  |  |  |  |
|  | Are all regulators to BSEN 585 or BS.7650? |  |  |  |  |
|  | Do any regulators show signs of damage? |  |  |  |  |
|  | Visually, do regulators appear to be unmodified? |  |  |  |  |
|  | Is there evidence of unauthorised adaptors being used with regulators? |  |  |  |  |
|  | Are all regulators switched off after use? |  |  |  |  |
|  | Are regulators stored appropriately when not in use? |  |  |  |  |
|  | Are all regulators inspected regularly and serviced/replaced periodically (e.g. every 5 years or as advised by the manufacturer or inspector)? |  |  |  |  |