## Appendix F	Electrical Safety - Overnight Running

Suggested “Overnight Running Permit”, for use adjacent to equipment when running equipment unattended / overnight:

Overnight or Unattended Running of Electrical Equipment

Name:

Contact Details:

Details of Experiment / Equipment:

Emergency Procedures:

Authorised by:

Date from:              to:

Department:

Room:

Overnight or Unattended Running of Electrical Equipment

Name:

Contact Details:

Details of Experiment / Equipment:

Emergency Procedures:

Authorised by:

Date from:              to:

Department:

Room:

Fill out the permit with:

- Your department

- The room the equipment is authorised to be used in

- Your name

- Your contact details

- Appropriate details of the experiment or equipment e.g.:

“Non-hazardous plant cell cultures on a rotary shaker at 60 rpm (room temperature)”

- Appropriate emergency procedures e.g.:

“If power fails no action required” OR “If power fails contact …………….”

“If shaker overheats switch off and isolate” etc…………… etc……………

- The permit should be authorised; as appropriate, this could be done by a supervisor or the researcher themselves, depending upon experience and Departmental policy.

- Complete the date from which the permit will run from and to.

- Affix permit close to equipment so that it is clear to what it relates.