# PUWERF1 - Suitability of Work Equipment Checklist

Use the checklist below to evaluate safety considerations for new, second-hand, hired, loaned or leased equipment.

| PUWERF1: Suitability of work equipment checklist |  |
| --- | --- |
| Name of equipment: | Click or tap here to enter text. |
| Intended use: | Click or tap here to enter text. |
| Location of use: | Click or tap here to enter text. |

|  | Y / N / N/A | Notes |
| --- | --- | --- |
| Regulatory Compliance: |  |  |
| Does it meet the requirements of the Supply of Machinery (Safety) Regulations? | Select. | Click or tap here to enter text. |
| Is the equipment CE/UKCA Marked with suitable Declarations of Conformity/Declarations of Incorporation? | Select. | Click or tap here to enter text. |
| Is there a pre-installation checklist provided? | Select. | Click or tap here to enter text. |
| Is the Technical File information available from the manufacturer (including assembly instructions if required)? | Select. | Click or tap here to enter text. |
| Is there marking and labelling of the product for traceability (e.g. asset tag)? | Select. | Click or tap here to enter text. |
| If applicable, was assembly/installation carried out by a suitably competent person? | Select. | Click or tap here to enter text. |
| Space / Environmental Considerations (as recommended by the manufacturer): |  |  |
| Is the floor/bench/shelf suitably rated to support the weight of the equipment? Advice may be required from a structural engineer. | Select. | Click or tap here to enter text. |
| Has the route between point of delivery and point of installation/use been assessed? Are there any special requirements needed to enable safe movement of the work equipment? Consider access, pinch points, change of level, door openings, manual handling etc. | Select. | Click or tap here to enter text. |
| Can the equipment be accommodated and safely maintained in the intended space? Consider footprint and what space you may require around it. | Select. | Click or tap here to enter text. |
| Are there any special requirements for flooring or benching (e.g. chemical resistant flooring)? | Select. | Click or tap here to enter text. |
| Is there sufficient lighting for people to work safely? | Select. | Click or tap here to enter text. |
| Is temperature / humidity control required? If so, what tolerance is specified by the manufacturer? | Select. | Click or tap here to enter text. |
| Is heat rejection required (mechanical extract, cooling water, air-conditioning)? | Select. | Click or tap here to enter text. |
| Are there a sufficient number of data points in the correct location? | Select. | Click or tap here to enter text. |
| Have the power requirements been assessed and found to be adequate? | Select. | Click or tap here to enter text. |
| Is a dedicated electrical supply required? Are there any special electrical protection requirements (RCD, isolating transformer, extra-low voltage)? | Select. | Click or tap here to enter text. |
| Is any form of back-up power supply required (generator/UPS)? | Select. | Click or tap here to enter text. |
| Will the equipment require compressed air or other gases (Nitrogen, CO2, Oxygen, Argon)? | Select. | Click or tap here to enter text. |
| Will oxygen depletion or gas monitoring be required? | Select. | Click or tap here to enter text. |
| Does the equipment require any monitoring and alarm systems (e.g. temperature, flood protection, power)? If yes, is there adequate response available. | Select. | Click or tap here to enter text. |
| In-use Considerations: |  |  |
| Are there any user-specific safety requirements (consider size, weight, reach etc. to avoid undue strain on the user)? Is there enough room for someone to work at the equipment and reach all the controls? | Select. | Click or tap here to enter text. |
| Have the forms of energy produced by the equipment (e.g. radiation, vibration, noise) been considered? Is the environment suitable for the addition of this energy? | Select. | Click or tap here to enter text. |
| Has the lowest vibration/noise rating been selected? If not, explain why. What measures have been put in place? | Select. | Click or tap here to enter text. |
| Will the equipment require the use of any hazardous substances? If yes, apply the principles of ALARP and detail what measures have been put in place (ATEX / Zoning / DSEAR risk assessment / alarms etc.). | Select. | Click or tap here to enter text. |
| Does the equipment require any form of fume or dust extraction system? | Select. | Click or tap here to enter text. |
| Will the equipment require the use of ionising or non-ionising radiation? | Select. | Click or tap here to enter text. |
| Other Considerations: |  |  |
| Has the equipment been properly commissioned or re-commissioned by the manufacturer or supplier upon installation/relocation? | Select. | Click or tap here to enter text. |
| Do you need to advise the University Insurers due to the value of the equipment? | Select. | Click or tap here to enter text. |
| Does the equipment need to be under the Competent Persons Scheme under LOLER or PSSR etc. | Select. | Click or tap here to enter text. |
| Is there provision for planned preventative maintenance? | Select. | Click or tap here to enter text. |

| Proposed by: | Authorised by: (this should be the person with responsibility for implementing PUWER) |
| --- | --- |
| Click or tap here to enter text. | Click or tap here to enter text. |
| Date: | Date: |
| Enter date. | Enter date. |