Department/Room: 				  				Action level for decontamination: e.g. anything above background/twice background

| DATE | AREA USED | USER | ISOTOPE | MONITOR TYPE (44A/EP15/..) | MONITOR SERIAL NUMBER | BACK-GROUND C.P.S. | C.P.S. BEFORE | ACTIONS TO DECON-TAMINATE | HANDS(H) FEET (F) C.P.S. AFTER | AREA C.P.S. AFTER | SIGNATURE |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 31/02/19 | A,B,D | J Doe | 32P | EP15 | xyz | 1 | 1 | 5% Decon, sink still 10 cps | H: 1 F: 1 | 1, sink 10 | Example |

This is a suggested format for a contamination monitoring log. Surface contamination checks have to be done and recorded at least at the start and end of an experiment. If only one type of monitor is used, remove the monitor type and serial number columns and add the information to the header or a cover sheet.

A cover sheet should also contain the areas and equipment that may be used during the experiment, including sink, centrifuge, etc. Assigning a letter to each area will make listing them easier.

Any non-removable contamination should be stated here and clearly marked to warn other users. The same applies to short lived isotopes left to decay overnight.