2

	
	University of Cambridge

Accelerators Registration Form

Authorisation of certain practices, use of accelerators for the purpose of Research and Industrial Radiography (other than electron microscopes)


	General information

	Department:


	Departmental Code:

	Location of equipment: 

	RPS:

	Individual with day to day responsibility for the equipment: 



	Post/Status: 

	Technical Details

	Make/Model of equipment:
Departmental identification number for equipment if applicable:

Maximum accelerating voltage of the equipment:


	Section A

Complete this section where the equipment (work) is carried out in a room, purpose made structure or other enclosure.

	Control Measure
	Is this Measure in place
	Details and explanation of the control measure. 
If a control measure is not in place, provide an explanation as to why not.

	Adequate shielding as far as reasonably practical in place &
	
	

	Adequate interlock system OR,
	
	

	Trapped key system OR,
	
	

	Other safety device to prevent access to high dose areas.
Please specify the details of any additional safety device
	
	


	Section B

In other cases:

	Control Measure
	Is this Measure in place
	Details and explanation of the control measure. 
If a control measure is not in place, provide an explanation as to why not.

	Adequate shielding as far as reasonably practicable:
	
	

	And in the case of Site Radiography

Site radiography refers to unenclosed radiography in fieldwork, in other employers' premises or any areas accessible to people not directly involved in the work (staff or public, in the UK or abroad).

Examples include: X ray analysis of a painting which cannot be moved from a museum gallery; radiography of an animal outdoors.

	Persons other than those directly involved excluded from the area by means of a barrier or other suitable means:
	
	

	If employees of another employer are present, formal arrangements for co-operation and co-ordination between employers in order to restrict access:
	
	

	Warning notices at the perimeter of any controlled area:
	
	

	A monitoring program to establish that controlled areas have been properly designated:
	
	


	Section C

Activated Substances:

	Control Measure
	Is this Measure in place
	Details and explanation of the control measure. 
If a control measure is not in place, provide an explanation as to why not.

	The means to minimise exposure as far as reasonably practicable, from substances that have been activated by the accelerator
	
	


	Section D

Adventitious Radiation:

	Control Measure
	Is this Measure in place
	Result of assessment

	A suitable assessment of the hazards arising from the production of adventitious radiation
	
	


	Section E

Where there is a risk of significant exposure arising from unauthorised or malicious operation:

	Control Measure
	Is this Measure in place
	Details and explanation of the control measure. 
If a control measure is not in place, provide an explanation as to why not.

	Locking off arrangements to prevent unauthorised or malicious use
	
	


	Section F
Initiation of exposures:

	Control Measure
	Is this Measure in place
	Details and explanation of the control measure. 
If a control measure is not in place, provide an explanation as to why not.

	Initiation to be key control or some equally effective means to prevent unintended or accidental exposure
	
	


	Section G
Warning devices:

	Control Measure
	Is this Measure in place
	Details and explanation of the control measure. 
If a control measure is not in place, provide an explanation as to why not.

	When the accelerator  is preparing to emit radiation (x)
	
	

	When radiation is about to be emitted (y)
	
	

	When the emission is underway (z) – distinguishable from (y)
	
	


	Section H
Protective Equipment:

	Control Measure
	Is this Measure in place
	Details and explanation of the control measure. 
If a control measure is not in place, provide an explanation as to why not.

	Is adequate and suitable personal protective equipment provided
	
	


	Section I
Maintenance and Testing of control measures:

	Control Measure
	Is this Measure in place
	Details and explanation of the arrangements

	Arrangements for maintenance and testing of all the control measures selected
	
	

	Will ongoing maintenance and testing be performed by; The supplier, contractor or University of Cambridge Staff.
	
	


	Section J
Configuration of safety devices referred to in Section A above:

	Control Measure
	Is this Measure in place
	Details and explanation of the configuration arrangements.

	Exposure cannot commence whilst any relevant access door, hatch, cover or appropriate barrier is open or safety device is triggered
	
	

	Exposure is interrupted if the access door, hatch, cover or barrier is opened
	
	

	Exposure does not 

re-commence on the mere act of closing an access door, hatch, cover or barrier
	
	


	A risk assessment needs be undertaken prior to use of this equipment


	Radiation Protection Supervisor (RPS) to complete

The information provided above accurately reflects the arrangements in place for this item of equipment.


	Name:
	Signature:
	Date:



	Return a copy of this form the University Safety Office, marked for attention of the University Radiation Protection Officer (RPO)


	Radiation Protection Advisor (RPA) to Complete

Comments from RPA 

	Name:
	Signature:
	Date:













IR010 (rev 1) 
July 2018
