Laser Safety Inspections

Monitoring compliance is part of the Laser Safety Officer’s duties, but the LSO may ask others to assist in carrying out inspections, for example, research supervisors and others with safety responsibilities. 

Inspections should normally be carried out at least once a year.
Ask questions, look around, observe working practices and use a checklist like the one below.
Use your authority as LSO to stop work if necessary and follow up any necessary actions.
Others should be consulted as necessary, especially if you have concerns about hazards associated with the laser.
Give praise and encouragement where appropriate.

Report any significant findings to your safety committee.
Laser Safety Inspection Checklist

Lasers throughout the University vary widely in their application and control measures. The following detailed checklist includes checks on work practices and control measures that are common to many laser applications. Please amend the form to suit you – add anything you think is relevant or simplify the form as necessary, and don’t forget to follow up any actions.
	Laser Safety Inspection Checklist

Inspection carried out by:

Date:



	
	
	
	OK?

(, ( or N/A
	Comments

	1. 
	Risk Assessment 
	Does the risk assessment appear to be suitable and sufficient
	
	

	2. 
	
	Does it cover all laser activities including alignment
	
	

	3. 
	
	Have necessary actions been implemented
	
	

	4. 
	
	Has the risk assessment been reviewed within the last year and revised when necessary
	
	

	5. 
	Local rules
	Are these documented following the format in University policy
	
	

	6. 
	
	Do they contain contingency plans, brief description of work, control measures, procedures covered…?
	
	

	7. 
	
	Have local rules been reviewed within the last year and revised when necessary
	
	

	8. 
	For Normal use
	Are Safe working procedures in operation
	
	

	9. 
	
	Are they documented either in the local rules or separately
	
	

	10. 
	
	Have possibilities of faults occurring or misuse considered
	
	

	11. 
	
	Have possible inadvertent reflections been assessed
	
	

	12. 
	For procedures where risk is greater than during normal use (e.g. alignment, maintenance)
	Are Safe working procedures in operation
	
	

	13. 
	
	Are they documented either in the local rules or separately
	
	

	14. 
	Are engineering controls utilised as far as practicable
	
	

	15. 
	Is justification for open beams included in risk assessment
	
	

	16. 
	Are all enclosures securely fixed
	
	

	17. 
	Are all optical components securely fixed
	
	

	18. 
	Is key control maintained (keys must not be left in unattended laser equipment)
	
	

	19. 
	Are suitable administrative control measures in place

Is there evidence that these are followed (e.g. from observations of work carried out if applicable)
	
	

	20. 
	Are others protected from hazards (e.g. are appropriate warning signs displayed and interlocks fitted if necessary)
	
	

	21. 
	Are interlocks failsafe
	
	

	22. 
	Is there evidence of maintenance of engineering controls  (e.g. log book of regular checks on interlocks, shields, interconnections etc)
	
	

	23. 
	Laser work and non-laser work separated and isolated (e.g. screen between laser work area and write-up area)
	
	

	24. 
	Laser working area designed with regard for safety
	Is the layout suitable
	
	

	25. 
	
	Has an assessment of NOHD been carried out
	
	

	26. 
	
	Are access arrangements and restrictions appropriate
	
	

	27. 
	Service work – done by external service engineers
	Have any hazardous activities been identified
	
	

	28. 
	
	Are appropriate arrangements in place for service work e.g. temporary restrictions on access
	
	

	29. 
	Contingency plans
	Are these documented in local rules
	
	

	30. 
	
	Do they follow University policy
	
	

	31. 
	
	Are they easily accessible
	
	

	32. 
	
	Are staff/ students aware of the arrangements (ask staff/students – what are the likely contingencies?)
	
	

	33. 
	Emergency arrangements
	Are arrangements for Emergency-Stop in place
	
	

	34. 
	
	Has safe entry for security and emergency services been considered (e.g in the event of security investigating an alarm sounding?)
	
	

	35. 
	
	Are staff/ students aware of the arrangements (ask staff/ students – how would you quickly shut off the equipment in an emergency?)
	
	

	36. 
	Eye protection
	Is appropriate eyewear readily available
	
	

	37. 
	
	Is it maintained in good condition
	
	

	38. 
	
	Is it appropriately marked (CE and  according to EN 207/EN 208) 
	
	

	39. 
	
	Is there evidence that eyewear is used when necessary (carry out spot checks if necessary)
	
	

	
	Any other checks 
	
	

	40. 
	Check Interconnections for electricity, water, gases
	
	

	41. 
	Control measures in place for laser dyes
	
	

	42. 
	Risk assessments in place for other hazardous activities
	
	

	43. 
	Is the laboratory free from clutter (particularly optical benches and walkways)
	
	

	
	Other Comments:


List of Actions Required

	Action
	Name of person responsible
	To be completed by (agreed date)
	Completed?

(date/ signature of LSO)

	
	
	
	

	
	
	
	

	
	
	
	


Jan 2012
IR073
